## Sheet1
Automation Goal | Scope | Impl. Priority | Impl. Status | Expected Frequency | Activation Schedule | Potential Upstream Cause | Action if Upstream Cause | Notes
Generator Service Failure | Area 1 | Phase 1 |  | Low | Always Active | No | N/A
Operating Room Temperature | Area 2 | Phase 1 |  | Medium | Always Active | Yes | Shop owner will cancel the work order if an AHU is down. | Some operating rooms chatter a bit, so a delay will help here.