## Buildings
Preferred Building Name | Building ID (CMMS) | Building Name (CMMS) | Building Aliases | Campus
Main Building | 0123 | MAIN BLDG | Building M, Main | Main Campus
Main Building Annex | 9123 | ANNEX (MAIN) | Annex, M-Annex | Main Campus
Park St. Facility | 4567 | PARK ST | 5 Park, Park St. | East Campus

## Rooms
Building | Preferred Room Number | Floor | Room Name | Space Type | Supply Fan | Supply Terminal Unit | Exhaust Terminal Unit | Exhaust Fan
Main Building | 401 | 4 | Chemistry Lab | Laboratory, Research | AHU-4-1 | VAV-4-1 | EVAV-4-1
Main Building | 405 | 4 | Lab Office | Office | AHU-4-1
Main Building | 500M | Penthouse | Penthouse MER | Mechanical Equipment Room |  |  |  | EF-1

## Equipment
Building | Preferred Equipment Tag | Asset ID (CMMS) | Aliases | Equipment Type | Physical Location | Spaces Served
Main Building | AHU-1 | 011114 | AH-1, Unit 1 | Air Handling Unit | Room 229M | Floor 2
Main Building | AHU-4-1 | 011123 | AH-4-1, AH4.1 | Air Handling Unit | Room 403M | Floor 4
Main Building | VAV-4-1 | 021332 |  | VAV Box | Room 401 | Rooms 401, 402, 403
Main Building | EVAV-4-1 | 021333 |  | VAV Box | Room 401 | Rooms 401, 402, 403
Main Building | EF-1 | 033322 | EX-1 | Exhaust Fan | Penthouse MER | Penthouse MER